# Rectification Paper SSW

Reviser #1:

- Strains in Soil: Obtain the maximum Force measured by the piezoelectric, then use that force in the Abaqus simulation for soils of 100 MPa, 200 MPa and 400 MPa. The output required is a color graph of strains with same scale that demonstrates the soil is in the elastic range.

  - The device measures the force in voltage (mV) but a constant is required to obtain the force. Calibration curve was already scanned.

Reviser #2:

- Plate already discussed in other papers, explore how the sensor affects: Run the simulation of contact equations and compare the output when the contact equations of the device is considered to when it’s replaced as a sphere. To show, that the sensor Is not the problem with two plots that contains four curves at 100MPa, 200MPa, 400Mpa.

  - Regular Run

  - Change contact equation: As = A

  - Change Sensor Stiffness: Es *2

  - Change Sensor Stiffness: Es/2

- Create comparison of Fig. 10 with its equivalent with no plate in the same plot to show how for higher modulus no plate s required, but for lower modulus the measures without plate fail to recreate the simulation.

Reviser #3:

- Graphical Contour of displacement for understanding the plate in Abaqus: Plot in the simulation plates of PLA (0.4mm), PP, Steel, and various thicknesses in PLA (0.2 and 1 mm). To obtain the plot of displacement u or maximum deformation Emax.